{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["企业检查记录明细"],"read":"whole","date_system":"1900"}

{"sheet":"企业检查记录明细","index":0,"n_rows":4,"n_cols":18,"rows_kept":4,"merged":[[0,0,0,17]]}
["河北雄安新区生态环境局2025年1月—4月执法检查（企业核查）记录明细"]
["序号","企业名称","企业所属市","企业所属县","任务源","执法单位","执法类型","任务来源","检查日期","执法人员","执法小结","企业对接人","对接人电话","是否存在问题","是否现场执法","非现场执法方式","问题类型","问题描述"]
[1,"中国雄安集团智慧能源有限公司（雄安新区容东片区安居工程配套供热（冷）工程）（4#供热中心站）","雄安新区","容城县","在线数据核查","雄安新区生态环境局","企业核查","企业在线数据超标","2025-01-22T16:43:52","袁龙山,闫伟峰,蔡菁","通过污染源自动监控系统查看，该供热站1#排放口正常运行，未发现超标异常情况。其余排放口处于停运状态，含氧量均在20%左右，实测浓度未超标。","杨晨旭","18330212922","否","否","污染源自动监控系统","无","无"]
[2,"中国雄安集团智慧能源有限公司（雄安新区容东片区安居工程配套供热（冷）工程）（4#供热中心站）","雄安新区","容城县","在线数据核查","雄安新区生态环境局","企业核查","企业在线数据超标","2025-02-18T16:46:32","袁龙山,闫伟峰,蔡菁","通过污染源自动控监控系统查看，该供热站2号，3号炉停运，1号炉正常运行，未发现超标异常情况。","杨晨旭","18330212922","否","否","污染源自动监控系统","无","无"]